# Town of Alexandria Water Quality Report

# 20151998

# Is my drinking water safe?

Yes, our water meets all of EPA’s health standards. We have conducted numerous tests for contaminants that may be in drinking water. We found all of these contaminants at safe levels.

# What is the source of my water?

Your water, which is surface water, comes from the Smith Utility District with Emergency connections with DeKalb Utility District and Wilson Water Authority. Our goal is to protect our water from contaminants and we are working with the State to determine the vulnerability of our water source to potential contamination.  The Tennessee Department of Environment and Conservation (TDEC) have prepared a Source Water Assessment Program (SWAP) Report for the untreated water sources serving this water system.  The SWAP Report assesses the susceptibility of untreated water sources to potential contamination.  To ensure safe drinking water, all public water systems treat and routinely test their water.  Water sources have been rated as reasonably susceptible, moderately susceptible or slightly susceptible based on geologic factors and human activities in the vicinity of the water source.  The Alexandria Water System sources rated as reasonably susceptible and moderately susceptible to potential contamination.

An explanation of Tennessee’s Source Water Assessment Program, the Source Water Assessment summaries, susceptibility scorings and the overall TDEC report to EPA can be viewed online at www.state.tn.us/environment/dws/dwassess.php or you may contact the Water System to obtain copies of specific assessments.

# Why are there contaminants in my water?

Drinking water, including bottled water, may reasonably be expected to contain at least small amounts of some contaminants. The presence of contaminants does not necessarily indicate that water poses a health risk.  More information about contaminants and potential health effects can be obtained by calling the Environmental Protection Agency’s Safe Drinking Water Hotline (800-426-4791).

Este informe contiene información muy importante.  Tradúscalo o hable con alguien que lo entienda bien.

The sources of drinking water (both tap and bottled) include rivers, lakes, streams, ponds, reservoirs, springs, and wells. As water travels over the surface of the land or through the ground, it dissolves naturally-occurring minerals and, in some cases, radioactive material, and can pick up substances resulting from the presence of animals or human activity. Contaminates that may be present in source water;

Microbial contaminates, such as viruses and bacteria, which may come from sewage treatment plants, septic systems agricultural livestock operations, and wildlife.

Inorganic contaminates, such as salts and metals, which can be naturally – occurring or result from urban storm water runoff, industrial, or domestic wastewater discharges, oil and gas production, mining, or farming.

Pesticides and herbicides, which may come from a variety of sources such as agriculture, urban storm water runoff, and residential uses.

Organic chemical contaminates, including synthetic and volatile organic chemicals, which are by-products of industrial processes and petroleum products, and can also come from gas stations, urban storm water runoff, and septic systems.

Radioactive contaminates which can be naturally – occurring or be the result of oil and gas production and mining activities. In order to ensure that tap water is safe to drink, EPA and the Tennessee Department of Environment and Conservation prescribe regulations which limit the amount of certain contaminates in the water provided by public water systems. FDA regulations establish limits for contaminate in bottled water which must provide the same protection for public health.

For more information about your drinking water, please call William R. York at 615-529-2171or 615-464-5922

# How can I get involved?

Our Water Board meets on the Fourth Tuesday each month at 7:00pm at the Town Hall.  Please feel free to participate in these meetings.

Is our water system meeting other rules that govern our operations?

Yes, the state and EPA require us to test and report on our water on a regular basis to ensure its safety. We have met all the requirements.

# Other Information

Due to all water containing dissolved contaminants, occasionally your water may exhibit slight discoloration. We strive to maintain the standards to prevent this. We at the Alexandria Water Department work around the clock to provide top quality water to every tap. We ask that all our customers help us protect our water sources, which are the heart of our community, our way of life and our children’s future.

# Statement Addressing Lead in Drinking Water

“If present, elevated levels of lead can cause serious health problems, especially for pregnant women and young children. Lead in drinking water is primarily from materials and components associated with service lines and home plumbing. The Town of Alexandria Water Department is responsible for providing high quality drinking water, but cannot control the variety of materials used in plumbing components. When your water has been sitting for several hours, you can minimize the potential for lead exposure by flushing your tap for 30 seconds to 2 minutes before using water for drinking or cooking. If you are concerned about lead in your water, you may wish to have your water tested. Information on lead in drinking water, testing methods, and steps you can take to minimize exposure is available from the Safe Drinking Water Hotline or at http:// www.epa.gov/safewater/lead

# Do I Need To Take Special Precautions?

Some people may be more vulnerable to contaminants in drinking water than the general population.  Immuno-compromised persons such as persons with cancer undergoing chemotherapy, persons who have under-gone organ transplants, people with HIV/AIDS or other immune system disorders, some elderly, and infants can be particularly at risk from infections. These people should seek advice about not only their drinking water, but food preparation, personal hygiene, and precautions in handling infants and pets from their health care providers. EPA/CDC guidelines on appropriate means to lessen the risk of infection by Cryptosporidium and other microbiological contaminants are available from the Safe Drinking Water Hotline (800-426-4791).

# Water System Security

Following the events of September 2001, we realize that our customers are concerned about the security of their drinking water.  We urge the public to report any suspicious activities at any utility facilities, including treatment plants, pumping stations, tanks, fire hydrants etc. to 615-464-5922.

W  a  t  e  r     Q  u  a  l  i  t  y     D  a  t  a

## What does this chart mean?

- MCLG -  Maximum Contaminant Level Goal, or the level of a contaminant in drinking water below which there is no known or expected risk to health.  MCLGs allow for a margin of safety.

- MCL - maximum Contaminant Level or the highest level of a contaminant that is allowed in drinking water. MCLs are set as close to the MCLGs as feasible using the best available treatment technology. To understand the possible health effects described for many regulated constituents, a person would have to drink 2 liters of water every day at the MCL level for a lifetime to have a one-in-a-million chance of having the described health effect.

- MRDL: Maximum Residual Disinfectant Level or MRDL: The highest level of a disinfectant allowed in drinking water. There is convincing evidence that addition of a disinfectant is necessary for the control of microbial contaminants.

- MRDLG: Maximum residual disinfectant level goal.  The level of a drinking water disinfectant below which there is no known or expected risk to health.  MRDLGs do not reflect the benefits of the use of disinfectants to control microbial contaminants.

- AL - Action Level, or the concentration of a contaminant which, when exceeded, triggers treatment or other requirements which a water system must follow.

- Below Detection Level (BDL) - laboratory analysis indicates that the contaminant is not present at a level that can be detected.

- Parts per million (ppm) or Milligrams per liter (mg/l) – explained as a relation to time and money as one part per million corresponds to one minute in two years or a single penny in $10,000.

- Nephelometric Turbidity Unit (NTU) - nephelometric turbidity unit is a measure of the clarity of water. Turbidity in excess of 5 NTU is just noticeable to the average person.

- TT - Treatment Technique or a required process intended to reduce the level of a contaminant in drinking water.

| Contaminant | Violation Yes/No | Level Detected | Range of Detections | Date of Sample | Unit Measurement | MCLG | MCL | Likely Source of Contamination |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Total Coliform Bacteria | No | 0 |  | 2015 |  | 0 | <2 positive samples | Naturally present in the environment |
| Copper * | No | .42 90 percentile | .098-.55 | 2015 | ppm | 1.3 | AL=1.3 | Corrosion of household plumbing systems; erosion of natural deposits; leaching from wood preservatives |
| Fluoride ( Raw Water) | No | .19 avg. | .46/.01 ppm | 2015 | Ppm | 4 | 4 | Erosion of natural deposits; water additive which promotes strong teeth; discharge from fertilizer and aluminum factories |
| Lead4 | No | 4.2 90 percentile | .0042/bdl | 2015 | Ppb | 0 | AL=15 | Corrosion of household plumbing systems, erosion of natural deposits |
| TTHM6 [Total trihalomethanes] | No | 79 avg. | 19-100 | 2015 | Ppb | n/a | 80 | By-product of drinking water chlorination |
| Haloacetic Acids (HAA5) | NO | 7 avg. | 19-45 | 2015 | Ppb | N/A | 60 | By-product of drinking water disinfection. |
| Bleach | No | 2.26 | 3.0/.8 | 2015 | Mrdlg=4 |  | Mcl=4 | Added to disinfect |
| Total Organic Carbon** | No | Avg. 41.21% | 56.6/29.7 | 2015 | Ppm | TT | TT | Naturally present in the environment. We met the Treatment Technique for Total Organic Carbon in 2014** |

During the most recent round of Lead and Copper testing, only 0 out of 10 households sampled contained concentrations exceeding the action level.

1100% of our samples were below the turbidity limit.

2While your drinking water meets EPA’s standard for arsenic, it does contain low levels of arsenic. EPA’s standard balances the current understanding of arsenic’s possible health effects against the costs of removing arsenic from drinking water. EPA continues to research the health effects of low levels of arsenic, which is a mineral known to cause cancer in humans at high concentrations and is linked to other health effects such as skin damage and circulatory problems.

3The laboratory did not meet the required detection limit therefore the data does not necessarily reflect that the water is contaminated to a level approaching the MCL.

4Infants and young children are typically more vulnerable to lead in drinking water than the general population. It is possible that lead levels in your home may be elevated due to the materials and components of your home’s plumbing.

7We have met all treatment technique requirements for Total Organic Carbon removal.

As you can see in this report, our system had no violations. We are proud that your drinking water meets or exceeds all Federal and State requirements.

#### Health Effects

Microbiological Contaminants:

Total Coliform. Coliforms are bacteria that are naturally present in the environment and are used as an indicator that other; potentially-harmful, bacteria may be present. Coliforms were found in more samples than allowed and this was a warning of potential problems.

Fecal coliform/E.Coli. Fecal coliforms and E. coli are bacteria whose presence indicates that the water may be contaminated with human or animal wastes. Microbes in these wastes can cause short-term effects, such as diarrhea, cramps, nausea, headaches, or other symptoms. They may pose a special health risk for infants, young children, and people with severely compromised immune systems.

Turbidity. Turbidity has no health effects. However, turbidity can interfere with disinfection and provide a medium for microbial growth. Turbidity may indicate the presence of disease-causing organisms. These organisms include bacteria, viruses, and parasites that can cause symptoms such as nausea, cramps, diarrhea, and associated headaches.

Inorganic Contaminants:

Asbestos. Some people who drink water containing asbestos in excess of the MCL over many years may have an increased risk of developing benign intestinal polyps.

Copper. Copper is an essential nutrient, but some people who drink water containing copper in excess of the action level over a relatively short amount of time could experience gastrointestinal distress. Some people who drink water containing copper in excess of the action level over many years could suffer liver or kidney damage. People with Wilson’s Disease should consult their personal doctor.

Fluoride. Some people who drink water containing fluoride in excess of the MCL over many years could get bone disease, including pain and tenderness of the bones. Children may get mottled teeth.

Lead. Infants and children who drink water containing lead in excess of the action level could experience delays in their physical or mental development. Children could show slight deficits in attention span and learning abilities. Adults who drink this water over many years could develop kidney problems or high blood pressure.

Nitrate. Infants below the age of six months who drink water containing nitrate in excess of the MCL could become seriously ill and, if untreated, may die. Symptoms include shortness of breath and blue-baby syndrome.

Nitrite. Infants below the age of six months who drink water containing nitrite in excess of the MCL could become seriously ill and, if untreated, may die. Symptoms include shortness of breath and blue-baby syndrome.

TTHMs [Total Trihalomethanes]. Some people who drink water containing trihalomethanes in excess of the MCL over many years may experience problems with their liver, kidneys, or central nervous systems, and may have an increased risk of getting cancer.

HAA [Haloacetic Acids]. Some people who drink water containing haloacetic acids in excess of the MCL over many years may have an increased risk of getting cancer.